# DICOM Import/Export Filters

November 14, 2020

K. Dekker

Filters copied over, but they need reconfiguring anyways as they point to the wrong locations and the options were all reset.

# IMPORT FILTERS

## RPM Import

## Import from CT Scanner

## KGH PACS (Dosimetry Workstations – Individual)

| Service Provider Details |  |
| --- | --- |
| AE Title | ON0693KGDA011 |
| IP/Hostname | 138.218.222.109 |
| Port | 4100 |
| Q/R | Yes |
| Storage | Yes |

| Individual Workstation Configurations |  |  |  |  |
| --- | --- | --- | --- | --- |
| Computer Name | Computer IP | AE Title | Port | Assigned To |
| ZVAR-IMX-6 | 10.40.62.41 | VWS_Z280 | 50400 | Shelley |
| ZVAR-IMX-11 | 10.40.62.46 | VWS_Z281 | 50400 | Jackie |
| ZVAR-IMX-2 | 10.40.62.42 | VWS_Z282 | 50400 | Jen |
| ZVAR-IMX-9 | 10.40.62.45 | VWS_Z283 | 50400 | Mario |
| ZVAR-IMX-5 | 10.40.62.170 | VWS_Z284 | 50400 | Anne |
| ZVAR-IMX-4 | 10.40.62.194 | VWS_287 | 50400 | Gary |

## Velocity Grid

## Import from HDIRS

## DICOM Cleaner

## External Plan Import

## GE Discovery RT – change to VMSFSD?

Does this need to change to VMSFSD? We are not using this query for CT import at the moment.

# EXPORT FILTERS

## Physics QA Images

## DICOM Export to HDR

## DICOM CLEANER

## Velocity Grid

## VelocitySend

## QA Images

## Export for Anonymization

## KGH PACS (?)

## Advantage Workstation AW2

## LAP Laser Export (?)

## Export to IMSURE